DECISION MEMORANDUM

## TO:	COMMISSIONER HANSEN

### COMMISSIONER SMITH

### COMMISSIONER KJELLANDER

MYRNA WALTERS

RON LAW

TONYA CLARK

### DON HOWELL

STEPHANIE MILLER

DAVE SCHUNKE

RICK STERLING

WORKING FILE

FROM:

DATE:	MARCH 17, 2000

RE:	CASE NO. AVU-E-00-01  (Avista)

LINE EXTENSION SCHEDULE 51—PROPOSED REVISIONS

On February 28, 2000, Avista Corporation dba Avista Utilities—Washington Water Power Division (Avista) filed an Application with the Idaho Public Utilities Commission (Commission) requesting approval of proposed revisions to its electric Schedule 51 Line Extension, Conversion and Relocation tariff.  The Company’s filing is in response to Commission Order No. 28097 issued July 29, 1999, in Case No. WWP-E-98-11.

As reflected in the Company’s Application, the present Schedule 51 tariff incorporates the principle of average costing for the installation of facilities commonly used in extending electric service.  The tariff sets forth “Basic Costs”, which are based on the average material and labor costs for the installation of these facilities, such as transformers and conduit, which are used consistently in the installation of electric line extensions.  The Basic Costs have a fixed and variable component, with a variable component stated on a cost-per-foot basis.  The present tariff also provides a list “Exceptional Costs”, which are items not included in the Basic Costs and that can materially increase the cost of a line extension project, such as trenching in rock-soil conditions.  Under the present tariff, Exceptional Costs must be paid by the customer or developer.

The Company is not proposing to change the conceptual structure of the Schedule 51 tariff.  The present tariff, it states, is relatively easy to apply, is fair and understandable to customers, and has resulted in relatively few customer complaints.  The Basic Costs set forth in the tariff, however, have not been updated since 1990.  As part of the proposed tariff, the Company has updated all Basic Costs based on 1998 materials and labor costs.

Residential Developments

For residential developments the total Basic Cost is proposed to increase from $1,120 to $1,400 per lot.  Of the total $280 increase, $130 represents an increase in Primary, Secondary and Transformer costs and $150 represents an increase in service line costs.  As the developer is responsible for Primary, Secondary and Transformer costs, a cash deposit or credit instrument is required from developers for these costs until such time as the residents begin taking service.  As Primary, Secondary and Transformer costs increase by $130 per lot under the proposed tariff, the developer deposit or credit instrument is also being increased $130 per lot, from $910 to $1,040.  However, if the developer provides the ditching within the development, the deposit or credit instrument required will be only $760 per lot, reflecting Avista’s average ditching cost savings of $280 per lot ($1,040 - $280 = $760).  Additionally, as the Company is proposing a revised residential allowance of $1,300, as discussed below, the developer would receive a refund of $940 if a cash deposit was made ($1,300 allowance less $360 service cost).

#### Residential Allowance

As part of its review of its Schedule 51 tariff, the Company states that it examined the present level of the line extension allowances.  An allowance is the amount of credit the customer receives against the estimated cost of the line extension based on future energy consumption and resulting margin to the Company.  If the estimated line extension cost exceeds the allowance, the customer is required to pay the excess cost in the form of a cash contribution (Contribution In Aid of Construction).  The present level of the residential single family allowance is $1,000.  The Company is proposing to increase that level to $1,300.  The increase in the allowance of $300 approximates the increase in the Basic Costs of $280 per lot for residential developments, therefore the majority of new residential customers will be unaffected by the proposed changes.

The Company’s present allowance level of $1,000 was based on the average energy consumption of all residential electric customers, a net margin that recovers the incremental cost of the line extension, and a first year rate of return equal to the Commission-authorized level in 1990.  The derivation of the present allowance also assumes that all of the Company’s costs are variable and will increase proportionately with the addition of a new customer, i.e., a fully-distributed cost of service approach.

The Company states that it no longer believes that a fully distributed cost of service approach is reasonable.  It does not believe that all of the Company’s costs will increase proportionately with the addition of new customers.  Rather than estimating the variability of each cost account, the Company employed an overall reasonableness test regarding the “contribution to system costs” resulting from the proposed allowance of $1,300.  The Company performed a revenue requirement analysis assuming a line extension investment of $1,300 (equal to the proposed allowance), a required (levelized) rate of return based on the level authorized by the Commission in Case No. WWP-E-98-11, and an estimated annual gross margin received from the customer of $261.  The gross margin estimate is based on the estimated electric revenue from a typical customer using gas heat and water-heat less the customers average production cost from the Company’s cost-of-service study filed in its general rate case.  Based on these assumptions, a new customer would provide a contribution to approximately 47% of system costs.  The result based on the proposed allowance level of $1,300 is that a new customer will contribute approximately 1.3¢ per kilowatt hour to system transmission and distribution costs, compared to an embedded average of approximately 2.7¢ per kilowatt hour.

#### Other Proposed Schedule 51 Changes

###### Commercial/Industrial Extensions

Presently, the Company performs a customer-specific analysis to determine the cost and allowance associated with extending service to a commercial or industrial customer who uses over 72,000 kilowatt hours (kWh) per year.  All commercial customers who use less than 72,000 kWh hours per year presently receive a fixed allowance of $1,300.  The present allowance of $1,300 was based on the average energy usage for all Commercial Schedule 11 customers and the 72,000 kWh hour level was based on the maximum annual usage for a customer taking service under Schedule 11.  Based on an analysis similar to that performed for residential customers, an appropriate allowance level for a commercial customer using 72,000 kWh hours would be several times the present level of $1,300.  Therefore, the Company is proposing that a customer specific analysis be performed on all commercial and industrial customers, using their estimated energy usage and the appropriate allowance per kilowatt hour depending on the rate schedule, in order to determine the allowance.  The allowances for all rate schedules other than Residential Schedules 1 and 12 are stated on a per kilowatt basis and are being increased based on the present rates of those schedules and a financial analysis similar to that per Residential Schedule 1.

The line extension costs for commercial and industrial customers will be analyzed differently depending on if they require a single-phase or three-phase service.  Basic Costs set forth in the tariff are based on single-phase service.  For customers requiring three-phase service, the line extension cost will be based on the total estimated costs derived from internally published average costs.

#### Exceptional Costs/Customer Requested Costs

Under the present tariff, a residential or small commercial customer is required to pay “Exceptional Costs”, which are the costs associated with unusual materials or labor.  Exceptional Costs presently include the cost associated with items which may be necessary to install the extension, as well as items which may be requested by the customer but are not necessary to install the extension.  Under the proposed tariff the Company has created a new cost category called “Customer-Requested Costs”, which is the “cost of unusual labor and/or materials requested by the customer but which are not necessary to construct the line extension based on the company’s minimum design, construction and operating practices.”  The customer will be required to pay for all Customer-Requested Costs.

Exceptional Costs still exist under the proposed tariff, however, they are limited to those costs which are necessary to construct the line extension but which are not reflected in the Basic Costs set forth under the tariff.  This proposed change, the Company states, will not have a significant effect on the amount of customer contributions required from single-party residential customers and developers.  For residential developments, the Basic Cost ($1,400) exceeds the allowance ($1,300), therefore, any Exceptional Costs will be paid by the developer, as well as any Customer-Requested Costs.  With regard to single-party residential extensions, in nearly all instances the Basic Costs will exceed the allowance.  However, because of the significant increases in the allowance per kilowatt-hour for non-residential rate schedules, the allowance could cover all or part of any Exceptional Costs for commercial line extensions.

#### Miscellaneous Proposed Changes

Under the present tariff, customers who are estimated to use less than 4800 kilowatt hours per year do not receive an allowance and must pay the entire cost of the line extension.  The rationale used to establish the present minimum use level of $4,800 is that the margin per kilowatt hour provided under Residential Schedule 1 must at least recover the cost of providing service from the primary or secondary line to the residents.  Using the proposed average service cost of $360 and the margin from Schedule 1, a minimum annual usage amount of 2500 kilowatt hours would provide recovery of the service cost.

The residential allowance for dwellings which have more than four units (apartments) is proposed to increase from $600 to $780 per unit.  The proposed increase in the allowance for these dwellings is proportional to the increase in the allowance for residential dwellings with less than four units ($1,000 to $1,300).

Lastly, the Company is proposing a revision under the “Conversions and Relocations” section of the tariff.  The present tariff requires a customer requesting a Conversion or Relocation of facilities to pay both the cost of the new facilities plus the remaining value of the existing facilities.  As the revenue received from the customer will continue to pay for the cost of existing facilities over time, they should only be charged for the cost of the new facilities.  Therefore, the provision for charging the customer for the remaining value of the existing facilities has been deleted.

Avista states that it provided an informational letter in late December to approximately twenty residential developers that the Company works with which outlined the proposed changes to the Company’s line extension tariff.  The Company requests that the Commission approve the proposed revisions to its line extension tariff Schedule 51 for an effective date of April 15, 2000.

#### Commission Decision

The Company by letter dated March 9, 2000, requests that the Commission process its Application pursuant to Modified Procedure, i.e., by written submission rather than by hearing.  Reference Commission Rules of Procedure, IDAPA 31.01.01.201-204.  Staff has yet to complete its investigation and review of the Company’s filing.  Staff has no objection to Modified Procedure but recommends that the proposed effective date be suspended to provide sufficient time for comment and administrative processing.

Does the Commission agree that Modified Procedure is appropriate in this case?  If not, what is the Commission’s preference?

Does the Commission agree that the proposed April 15, 2000, effective date should be suspended?

vld/M:AVU-E-00-01